# Portable light detector with keychain (DH431)

Thank you for purchasing from RNIB. In the unlikely event the item is unsuitable, please contact us within 14 days of receipt to obtain your returns number. To ensure your return goes smoothly, the item and all components must be in as new condition and packed in its original, undamaged packaging. For further details and guidance on returning faulty items, please see the Terms and conditions of sale and How to contact RNIB sections of this instruction manual.

Please retain these instructions for future reference. These instructions are also available in other formats.

## General description

This light detector will sense light intensity and contrast and announce the results using audible signals which show the light intensity of the environment, to determine the type of light source (natural or artificial) and to help distinguish elements by contrast difference, e.g. facades, building doors, shop windows, etc.

This product includes two CR2032 batteries.

## Orientation

Hold the detector in your hands so that you have the flat end of the device with the metal loop on the bottom right corner where the included keychain is attached. The bottom left corner is at an angle and has the switch to turn it on and off. The other end of the device is curved and houses the measuring head of the light detector and is its “artificial eye”.

On the top half of the front side there is a square speaker grill, this is the loudspeaker and announces the different acoustic signals. On the bottom half there is a semi-circular button which you press to activate the sensor.

On the back of the device there is a round battery door approximately 25mm in diameter containing the batteries.

## Using the product

### Measuring brightness

Switch on the device by sliding the On/Off button to the left, away from the keychain base.

Point the ‘’artificial eye’’ of the light probe onto the surface you want to measure. Press and hold down the semi-circular button. According to the acoustic signal you will then be able to tell whether the surface is bright or dark.

A high tone indicates a bright surface.

A low tone indicates a dark surface.

### Measuring contrasts

When measuring contrasts, press the semi-circular button and keep it pressed while moving the measuring head over the surface of the object. According to the acoustic signal you’ll get the information you need.

A consistent tone indicates a uniformly coloured surface (high tone for bright, low tone for dark colours).

A varying tone indicates a patterned or colourful surface (for example a printed sheet of paper will be detected as patterned).

## Battery replacement

Please note: Some sighted assistance is advisable.

This product takes two CR2032 batteries, included.

Place the device face down on a table or firm surface. There is a small recessed slot in the middle of the battery compartment lid. You will need to insert a two pence coin or something of similar size to turn and open it. With the key chain on left top corner, turn the battery cover to the left to open it, and to the right to close it.

Inside the battery compartment you’ll find a circular recess which is where the batteries sit.

Take the batteries and place into the recess with the textured negative side facing down, and the smooth positive side facing up.

Replace the battery lid back into place.

Please note: RNIB does not guarantee batteries.

## Safety Instructions

- Do not expose the device to extreme humidity, heat, cold, dust or dirt.

- When exposed to splashed water, wipe the device dry. If water enters the device, remove the batteries and make sure the device is completely dry.

- When not using the device for a longer period, remove the batteries, so they do not damage the device by leaking.

- Make sure the batteries are inserted in the correct way.

## How to contact RNIB

Phone: 0303 123 9999

Email: shop@rnib.org.uk

Address: RNIB, Midgate House, Midgate, Peterborough PE1 1TN

Online Shop: shop.rnib.org.uk

Email for international customers: exports@rnib.org.uk

## Terms and conditions of sale

This product is guaranteed from manufacturing faults for 24 months from the date of purchase.  If you have any issues with the product and you did not purchase directly from RNIB then please contact your retailer in the first instance.

For all returns and repairs contact RNIB first to get a returns authorisation number to help us deal efficiently with your product return.

You can request full terms and conditions from RNIB or view them online.

RNIB Enterprises Limited (with registered number 0887094) is a wholly owned trading subsidiary of the Royal National Institute of Blind People ("RNIB"), a charity registered in England and Wales (226227), Scotland (SC039316) and Isle of Man (1109). RNIB Enterprises Limited covenants all of its taxable profits to RNIB.

This product is CE marked and fully complies with all applicable EU legislation

Please do not throw items marked with this symbol in your bin.  Recycle your electricals and electronic devices free at your local recycling centre. Search for your nearest recycling centre by visiting www.recyclenow.com.

### Why recycle?

Unwanted electrical equipment is the UK’s fastest growing type of waste.

Many electrical items can be repaired or recycled, saving natural resources and the environment.  If you do not recycle, electrical equipment will end up in landfill where hazardous substances will leak out and cause soil and water contamination – harming wildlife and human health.

RNIB are proud to support your local authority in providing local recycling facilities for electrical equipment.

To remind you that old electrical equipment can be recycled, it is now marked with the crossed-out wheeled bin symbol. Please do not throw any electrical equipment (including those marked with this symbol) in your bin.

### What is WEEE?

The Waste Electrical or Electronic Equipment (WEEE) Directive requires countries to maximise separate collection and environmentally friendly processing of these items.

### How are we helping?

In the UK, distributors including retailers must provide a system which allows all customers buying new electrical equipment the opportunity to recycle their old items free of charge. As a responsible retailer, we have met the requirements placed on us by financially supporting the national network of WEEE recycling centres established by local authorities. This is achieved through membership of the national Distributor Take-back scheme (DTS).

Date: January 2020

© Royal National Institute of Blind