Ökolux Plus LED Illuminated Stand Magnifier

3.5x/10D, 4x/12D, 5x/16D 6x/20D

MAG26 - MAG33

Please retain these instructions for future reference. These instructions are also available in other formats.

# Importance of a low vision assessment

RNIB and Action for Blind People strongly advise anyone with visual impairment to have a low vision assessment. This is an NHS funded service usually accessed at your local hospital eye clinic or run by a local organisation. Referral to the clinic is usually by your General Practitioner (Doctor), Optometrist or Ophthalmologist. The assessment is free of charge and available to anyone with low vision. You do not have to be registered as sight impaired to access this service.

Low vision means that you will be finding it hard to see things as clearly as you would like to, even after you have had your eyes tested and are wearing the correct spectacles or contact lenses.

At the assessment a qualified low vision practitioner will check your vision and assess your suitability for low vision aids such as magnifiers. These clinics are usually able to provide at least one magnifier to you, free of charge. As magnifiers can be difficult to use initially, the practitioner will help you to get the best out of the equipment they prescribe. If you have been discharged by your eye specialist, you can ask your GP or Optometrist to refer you to the nearest clinic.

# Choosing a magnifier

RNIB's booklet 'Choosing your magnifier' is designed to help people with a visual impairment understand the various types of magnifier that can be used for specific tasks. This booklet is available from RNIB's Helpline in large print, audio or braille, or downloaded from rnib.org.uk

# Warning! Important information

Do not leave your magnifier in direct sunlight when it is not being used. The intensifying effect of the lens could become a fire hazard in direct sunlight. Use your protective cover (if provided) and always store in a safe place.

Never look at the sun directly through a magnifying lens as it could damage your eyes.

Do not look directly at the light source in illuminated magnifiers as LEDs are very bright.

Avoid impacting, banging or dropping your magnifier, as well as moisture and high temperatures which may cause damage.

Avoid putting your hands or fingers on the lens of your magnifier - always use the frame or handle.

# Effective lighting

RNIB and Thomas Pocklington's booklet 'Make the most of your sight, improve the lighting in your home' demonstrates good practice by giving ideas, hints and tips. It explains how to light your home more effectively, as well as explaining different types of lighting and their benefits. It is available in large print, audio and braille from RNIB's Helpline or you can download it from our website.

# What is a stand magnifier?

Stand magnifiers are specially designed “fixed focus” magnifiers that stand on a page, which you slide across as you read. Stand magnifiers will in most cases “automatically” focus when looking through the lens. You may need to wear your reading spectacles when using stand magnifiers to get the clearest image. A stand magnifier is ideal for people who may have difficulty in holding a hand held magnifier.

# General description

Battery operated illuminated stand magnifier with a lightweight aspheric lens and a 4 chip SMD LED (SMD LED Surface-mounted light emitting diodes). Available from RNIB in two light temperatures: 4,500K (pale blue) and 6,000K (white) and four strengths (3.5x to 6x). The LED light gives a bright illumination and clear, white light. It offers a battery life of up to 120 hours and the LED can last up to 10,000 hours of use. Supplied with 3 AA batteries.

## Orientation

### Front

Place the magnifier in front of you with the case of the lens sitting flat on the surface. Halfway down the magnifier handle, you will feel a ridged, green rectangular switch to turn your light on and off.

At the end of the handle is a round, circular green cover, with a ridged texture, which you twist anti-clockwise to open the battery compartment. The handle houses the batteries.

### Back

Turn the magnifier over to find the hollow case of the lens housing. The LED bulb is situated in the side wall of this area. At the end of the handle you will feel a raised area of plastic. With the twist lock open, you can use this raised area to pull open the battery compartment cover.

# Getting started

## Changing/inserting the batteries

To insert or replace the batteries turn the stand magnifier so the unit is upside down, with the switch facing the table and the handle facing towards you. Turn the green circular catch, with the ridged texture anti-clockwise, then lift the battery compartment up to gain access to the batteries.

You will find three AA batteries, with two positioned on the left side of the battery compartment and one battery on the right. Always position the battery with the negative (flat) end positioned against the spring. In the left hand side of the compartment (with two batteries) position the first battery in the same way then place the second battery with the negative (flat) end resting against the positive (raised) end of the other battery.

Replacement batteries are available from RNIB under product code CP03.

Please note: RNIB does not guarantee batteries.

# Using the product

Switch the light on by sliding the green switch towards the lens and place the magnifier flat onto the page. The best way to see the most words at one time through the magnifier is to hold it close to your eye, while keeping the magnifier flat on the page. If the words are not clear, or you need to lift the magnifier off the page to see clearly, you may need to alter the spectacles you are wearing (change between reading or distance spectacles).

You can hold the magnifier in either hand, but may find it more comfortable if held horizontally across the page. If you use additional task lighting, make sure the light is shining onto the print underneath, and not directly onto the lens as this can cause additional reflection. Using a task light can reduce reflections from overhead ceiling lights. When handling and using the magnifier, be careful not to block out any light, which can also cause shadows.

# Hints and Tips

The Double ended clamp (RNIB code DH213) is especially useful for holding a hand held magnifier in place when two hands are required for a task (for example knitting or sewing). It can also be useful to hold the magnifier steady. The clamp is easily attachable to a table edge and has a fully adjustable yet sturdy 46cm long neck, which makes it easy to position where you want it.

Magnifiers usually work best with the spectacles that you have been prescribed by your low vision professional. If you find it difficult to keep your place when reading, try using your finger to mark the start of each line. Holding a magnifier close to your eye and then bringing what you want to see up to it will often help you see more letters and words at a time. Try moving the book or page from side to side rather than moving the magnifier or your eyes. Use a clipboard when you are reading in a chair to help keep the page flat and still. A cushion or a tray may also be useful support. If you find your eyes are getting tired, take a break and start again when you feel better.

#### Aftercare

Proper care of your magnifier means it will provide you with many years of untroubled reading. Clean the lens with a damp cloth (ideally a damp micro-fibre cloth). Never use solvents such as alcohol, benzene or other cleaning agents as these can damage the lens.

You may find small lines that look like hairline cracks at the edge of lightweight lenses or in the plastic frame. These are flow lines that occur during the production process, but they do not affect the function or durability in any way.

## LED lighting

Magnifiers with built-in lighting are nothing new. Some types of magnifiers have used small battery powered ‘traditional’ type light bulbs for many years. Disadvantages with these traditional bulbs were: they could be unreliable: bulbs were difficult to replace; they gave out a yellowish light; and were not energy efficient.

Nowadays, most illuminated magnifiers use Light Emitting Diodes (LEDs) instead of light bulbs. These tiny lights provide a much brighter level of light, tend not to breakdown and do not use much power, meaning that batteries last longer. Modern LEDs can last for over 100,000 hours before they need replacing.

Some makes of magnifiers offer a choice of “colour temperature” which relates to the colour of light emitted. Colour temperatures are measured and described in Kelvin or K. The lower the number (2,700K) will emit a “yellow” light, and the higher the number (6,000K) will emit a bright “white” light.

# How to contact RNIB

Phone number: 0303 123 9999

Textphone: 0845 758 5691

Postal address: RNIB, PO Box 173, Peterborough PE2 6WS, U.K.

Email: shop@rnib.org.uk

Web address: www.rnib.org.uk

Email for international customers: exports@rnib.org.uk

## Terms and conditions of sale

This product is guaranteed from manufacturing faults for 10 years from the date of purchase.  If you have any issues with the product and you did not purchase directly from RNIB then please contact your retailer in the first instance.

For all returns and repairs contact RNIB first to get a returns authorisation number to help us deal efficiently with your product return.

You can request full terms and conditions from RNIB or view them online.

Registered Charity No. 226227

This product is CE marked and fully complies with all applicable EU legislation.

At the end of the product’s life you can return it to the supplier or manufacturer for free of charge disposal.  This is to comply with ‘The Waste Electrical and Electronic Equipment Directive’ (WEEE).

Date: April 2014

© RNIB