LED pocket lighted magnifier

MAG79, MAG94, MAG95, MAG96, MAG97

Please retain these instructions for future reference. These instructions are also available in other formats.

# Importance of a low vision assessment

RNIB and Action for Blind People strongly advise anyone with visual impairment to have a low vision assessment. This is an NHS funded service usually accessed at your local hospital eye clinic or run by a local organisation. Referral to the clinic is usually by your General Practitioner (Doctor), Optometrist or Ophthalmologist. The assessment is free of charge and available to anyone with low vision. You do not have to be registered as sight impaired to access this service.

Low vision means that you will be finding it hard to see things as clearly as you would like to, even after you have had your eyes tested and are wearing the correct spectacles or contact lenses.

At the assessment a qualified low vision practitioner will check your vision and assess your suitability for low vision aids such as magnifiers. These clinics are usually able to provide at least one magnifier to you, free of charge. As magnifiers can be difficult to use initially, the practitioner will help you to get the best out of the equipment they prescribe. If you have been discharged by your eye specialist, you can ask your GP or Optometrist to refer you to the nearest clinic.

# Choosing a magnifier

RNIB's booklet 'Choosing your magnifier' is designed to help people with a visual impairment understand the various types of magnifier that can be used for specific tasks. This booklet is available from RNIB's Helpline in large print, audio or braille, or can be downloaded from rnib.org.uk

# Warning! Important information

Do not leave your magnifier in direct sunlight when it is not being used. The intensifying effect of the lens could become a fire hazard in direct sunlight. Use your protective cover (if provided) and always store in a safe place.

Never look at the sun directly through a magnifying lens as it could damage your eyes.

Do not look directly at the light source in illuminated magnifiers as LEDs are very bright.

Avoid impacting, banging or dropping your magnifier, as well as moisture and high temperatures which may cause damage.

Avoid putting your hands or fingers on the lens of your magnifier - always use the frame or handle.

# General description

These instructions cover the following products:

- Illuminated pocket mag slide out 3x (MAG79)

- Illuminated pocket mag, Optima Go 3.5x (MAG94)

- Illuminated pocket mag, Optima Go 5x (MAG95)

- Illuminated pocket mag, Optima Go 8x (MAG96)

- Illuminated pocket mag, Optima Go 10x (MAG96)

This range of LED pocket magnifiers has a soft touch handle that is comfortable to use. The slide-out magnification lens means it can fit easily into a pocket or handbag. When the lens is fully retracted the built-in LED automatically turns on providing a bright light. Designed to be compact and lightweight it is supplied with two 3-volt cell batteries.

This magnifier is ideal for spot reading while out and about in shops for seeing prices and labelling, in cafes and restaurants for use with menus, and seeing the screen on mobile phones.

The Optima Go range of magnifiers (MAG94, MAG95, MAG96, MAG97) come with a lanyard and a cloth pouch.

## Orientation

The unit is rectangular in shape and measures approximately 9.5cm long x 5.5cm wide x up to 1.5cm deep, when the magnifying lens is open fully it measures 14.5cm long. The top of the magnifier is slightly wider than the rest of the case and the lens sits inside the casing to protect it from scratches.

### Front

The front of the magnifier's plastic casing is rectangular and smooth and towards the top is a small rectangular recess area. If you gently pull this out away from you, it will reveal the magnifier lens. When extracted fully, the circular lens measures 3.5cm and has a plastic rim round the outer edge. (MAG79 has a rectangular lens measuring 4.5cm x 3.7cm).

### Back

The slim LED is fitted in the small rectangular recess area on this side. The battery compartment forms the bottom quarter of the back, and is denoted by a small recessed oval area.

# Using the product

Hold the magnifier with the front facing upwards and pull out the magnifier lens. The LED will automatically illuminate once the lens is pulled out and should be positioned facing down towards the item you are magnifying.

To use a pocket magnifier draw the magnifier and print together, nearer your eye to be able to see more words in one view.

Another way of using your pocket magnifier is to hold the magnifier up to your viewing eye (looking through the centre of the lens), and bring up the reading material until it becomes in focus and is clearer to see.

# Hints and Tips

## Aftercare

Proper care of your magnifier means it will provide you with many years of untroubled reading. Clean the lens with a damp cloth (ideally a damp micro-fibre cloth). Never use solvents such as alcohol, benzene or other cleaning agents as these can damage the lens.

You may find small lines that look like hairline cracks at the edge of lightweight lenses or in the plastic frame. These are flow lines that occur during the production process, but they do not affect the function or durability in any way.

Magnifiers usually work best with the spectacles that you have been prescribed by your low vision professional. If you find it difficult to keep your place when reading, try using your finger to mark the start of each line. Holding a magnifier close to your eye and then bringing what you want to see up to it will often help you see more letters and words at a time. Try moving the book or page from side to side rather than moving the magnifier or your eyes. If you find your eyes are getting tired, take a break and start again when you feel better.

# Battery replacement

This magnifier is fitted with two CR1130 lithium cell batteries. To replace the batteries, make sure the lens is closed inside the unit and then turn the magnifier over and position it onto a flat surface, so the bottom with the battery compartment is nearest to you. Place your thumb over the oval recess and gently slide the battery cover towards you and carefully lift it away.

Please note: If you are not careful in opening the battery compartment then the batteries may fall out.

With the battery compartment now open and positioned nearest to you, remove the old batteries and replace with two new ones, noting the correct polarity. The left battery should be inserted with the positive (smooth) side facing upwards and the right battery should be inserted with the negative (textured) side facing upwards. Once in place, replace the cover ensuring it is securely in place.

Replacement batteries are available from RNIB under product code CP30.

Please note: RNIB does not guarantee batteries.

# How to contact RNIB

Phone number: 0303 123 9999

Textphone: 0845 758 5691

Postal address: RNIB, PO Box 173, Peterborough PE2 6WS, U.K.

Email: shop@rnib.org.uk

Web address: www.rnib.org.uk

Email for international customers: exports@rnib.org.uk

## Terms and conditions of sale

This product is guaranteed from manufacturing faults for 24 months from the date of purchase.  If you have any issues with the product and you did not purchase directly from RNIB then please contact your retailer in the first instance.

For all returns and repairs contact RNIB first to get a returns authorisation number to help us deal efficiently with your product return.

You can request full terms and conditions from RNIB or view them online.

Registered Charity No. 226227

Date: September 2014

© RNIB