# Ambutech Dakota rough terrain tip, hook style

# (MP114R and MP114W)

Please retain these instructions for future reference. These instructions are also available in other formats.

## Special warning

This hook style tip is not suitable for paved surfaces. Not designed for constant use on cement, asphalt, concrete, or dirt roads.

This tip is only available for hook style canes.

## General description

The Dakota tip is a hook style mobility tip designed for rough terrain, including country roads, gravel, mud, snow and sand. Using the hook attachment method the tip can easily be installed when the terrain calls for it and removed for more urban settings. Made from durable plastic it will move easily on the ground.

## Changing a hook style tip

The tip utilises the Ambutech hook-on attachment method so you can easily change the tip depending on the terrain.

## Canes fitted with a Cordlock™

The Cordlock™ is a white plastic clip, which stops the elastic cord slipping down the cane shaft when you change the tip. From 2013, most Ambutech canes are now fitted with a Cordlock™.

- Pull the tip out of the end section of the cane until a knot in the cord and a small piece of plastic which is the ‘Cordlock™’, appears.

- Allow the Cordlock™ to settle perpendicularly across the end of the cane

- Unhook the old tip and hook on the replacement tip keeping the tip and elastic cord under tension

- Fold the Cordlock™ so it is lying parallel, flat against the elastic cord and facing away from the knot

- With the hook through the elastic cord, let the elastic cord slide back into the cane shaft under tension. Ensure the tip is securely in place. Your cane is ready to use.

# Replacing hook tips on older canes

- Pull the tip straight from the end of the cane until a knot in the elastic appears

- Slip a pen or similar object into the gap between the knot and the cane

- Release the elastic carefully until the pen rests across the end of the cane

- Unhook the tip and hook on the replacement tip

- Remove the pen and allow the tip to sit back into the end section of the cane under tension, and with the hook through the elastic

## How to contact RNIB

Phone: 0303 123 9999

Email: shop@rnib.org.uk

Address: RNIB, Northminster House, Northminster, Peterborough PE1 1YN

Online Shop: shop.rnib.org.uk

Email for international customers: exports@rnib.org.uk

## Terms and conditions of sale

This product is guaranteed from manufacturing faults for 12 months from the date of purchase. This product is not covered for general wear and tear. If you have any issues with the product and you did not purchase directly from RNIB then please contact your retailer in the first instance.

For all returns and repairs contact RNIB first to get a returns authorisation number to help us deal efficiently with your product return.

You can request full terms and conditions from RNIB or view them online.

RNIB Enterprises Limited (with registered number 0887094) is a wholly owned trading subsidiary of the Royal National Institute of Blind People ("RNIB"), a charity registered in England and Wales (226227), Scotland (SC039316) and Isle of Man (1226). RNIB Enterprises Limited covenants all of its taxable profits to RNIB.

Date: June 2022

© RNIB