AmbuTech symbol canes

MS20, MS22, MS23, MS25, MS40, MS41, MS42, MS43

Please retain these instructions for future reference. These instructions are also available in other formats.

# General description

The following canes are covered within these instructions:

MS20 (white) MS40 (red and white) – 70cm

MS22 (white) MS41 (red and white) – 85cm

MS23 (white) MS42 (red and white) – 100cm

MS25 (white) MS43 (red and white) – 105cm

AmbuTech symbol canes are made from aluminium. The sections are joined together by one piece of elastic cord held in place by an eyelet style tip, and knotted through a plastic end cap on the handle.

White symbol canes are intended to be used to indicate visual impairment only. They are not designed to be used as a support aid, or for detecting obstacles on the ground such as kerbs and steps. Red and white banded symbol canes highlight both a hearing and visual impairment.

# Hints and Tips

## Looking after your cane

Clean the joints regularly with a wet cloth. Do not use the cane if there is evidence of fraying of the elastic cord. Check for excessive wear of the cane tips and replace when necessary.

# How to contact RNIB

Phone number: 0303 123 9999

Textphone: 0845 758 5691

Postal address: RNIB, PO Box 173, Peterborough PE2 6WS, U.K.

Email: shop@rnib.org.uk

Web address: www.rnib.org.uk

Email for international customers: exports@rnib.org.uk

## Terms and conditions of sale

This product is guaranteed from manufacturing faults for 12 months from the date of purchase.  If you have any issues with the product and you did not purchase directly from RNIB then please contact your retailer in the first instance.

For all returns and repairs contact RNIB first to get a returns authorisation number to help us deal efficiently with your product return.

You can request full terms and conditions from RNIB or view them online.

Registered Charity No. 226227

Date: February 2014

© RNIB