Coopers adjustable aluminium folding walking stick

MW42 T- handle (84-94cm)

MW43 Fischer handle – right hand (79-89cm)

Please retain these instructions for future reference. These instructions are also available in other formats.

# General description

These white aluminium folding walking sticks are lightweight and can be adjusted to vary the length to suit your requirements. They are quick and simple to set up, are fitted with a black ferrule similar to the grey ZL 1.6cm ferrule, and conveniently fold away into a plastic storage wallet when not in use.

These walking sticks are intended as a means of support for visually impaired people and not as an aid to guidance. It is recommended that advice must be sought from a healthcare professional to ensure the walking stick is the correct length and can give the support required. Incorrect use can cause back trouble and posture problems and it is important that any replacements issued are of the same length and weight as the original. When the stick is measured correctly the user should be able to maintain an upright posture with the elbow slightly flexed.

Please note: Maximum user weight is 102kg (16st).

## Orientation

These walking sticks come in four segments and are joined throughout by two pieces of elasticated cord. The top segment includes the handle and directly below this are five holes an inch apart which are for the spring pins for adjusting the height of the stick.

The bottom segment has the ferrule fitted.

## Assembling/disassembling the stick

To assemble the stick, straighten the segments out and they will automatically snap into one another. If they don’t assemble directly just line one segment up with another and they will easily join together.

To disassemble simply pull one segment away from the other until all four are separated, and then fold away into the plastic case provided.

## Adjusting the height of the stick - spring pin adjustments

1. Locate the spring pin (it will protrude from one of the five holes below the handle)

2. Hold the stick and push the pin in

3. Pull up or push down the top segment (with handle) while holding the stick

4. Turn the leg slightly so the pin fits through one of the five holes

5. Once extended to the required position, ensure the pin is fit into the appropriate hole, and is protruding to confirm it is tightened.

## Replacing the ferrule

The most common repair will be to replace the ferrule. Remove the old ferrule and replace it with one of the same size and then press down carefully on the stick's handle to ensure that the ferrule has been correctly attached and will not come off when the walking stick is in use. It is strongly recommended that you do not attempt to undertake any other repairs or alterations to the adjustable walking sticks.

Alternative ferrules available include:

- 1.8cm black heavy duty ferrule (MP47)

- 1.8cm grey ferrule (MP49)

- 1.6cm grey ZL ferrule (MP50)

Please note: 1.6cm grey ZL ferrule (MP50) will fit this walking stick, but does require effort to push it on.

# Technical specification

MW42 T- handle - height adjustable from 84-94cm in 2.5cm increments.

MW43 Fischer handle - height adjustable from 79-89cm in 2.5cm increments.

# How to contact RNIB

Phone number: 0303 123 9999

Textphone: 0845 758 5691

Postal address: RNIB, PO Box 173, Peterborough PE2 6WS, U.K.

Email: shop@rnib.org.uk

Web address: www.rnib.org.uk

Email for international customers: exports@rnib.org.uk

## Terms and conditions of sale

This product is guaranteed from manufacturing faults for 12 months from the date of purchase.  If you have any issues with the product and you did not purchase directly from RNIB then please contact your retailer in the first instance.

For all returns and repairs contact RNIB first to get a returns authorisation number to help us deal efficiently with your product return.

You can request full terms and conditions from RNIB or view them online.

Registered Charity No. 226227

Date: February 2014

© RNIB